## Tabelle1
Holding registers | Data type | Address for Modbus requests | Description | Adress for Modpool testing
cell1 MS | uint_16 | 0
cell1 LS | uint_16 | 1
cell2 MS | uint_16 | 2
cell2 LS | uint_16 | 3
cell3 MS | uint_16 | 4
cell3 LS | uint_16 | 5
cell4 MS | uint_16 | 6
cell4 LS | uint_16 | 7
pesoTot MS | uint_16 | 8 | Total weight (already filtered)
pesoTot LS | uint_16 | 9 | Total weight (already filtered)
pesoCalib MS | uint_16 | 10 | Calibration sample weight
pesoCalib LS | uint_16 | 11 | Calibration sample weight
Diagnostic | uint_16 | 12 | System diagnostic data
Dummy | uint_16 | 13
Coils | Data type | Address for Modbus requests | Description
TareCommand | bool | 0 | Tare command rising edge logic
CalibCommand | bool | 8 | Calibration command rising edge logic
Diagnositc::descriptor | bit | Value
implemented | 0 | cell1_ok=0, cell1_not_ok=1
implemented | 1 | cell2_ok=0, cell2_not_ok=1
implemented | 2 | cell3_ok=0, cell3_not_ok=1
implemented | 3 | cell4_ok=0, cell4_not_ok=1
implemented | 4 | Memory: working=0, not working=1
5
6
7